${QR}

**Attention to:** ﻣﺆﺳﺴﺔ ﺍﻋﻤﺎﺭ ﻛﺮﺍ ﻟﻠﻤﻘﺎﻭﻻﺕ ﺍﻟﻌﺎﻣﺔ

**IDI PR #:** **190019**

**Established by: Adel Alharbi**

**TIS Visit**

**Inspection Report - Waterproofing Envelope Assessment**

**Date of visit: 18-Mar-2025**

**Location: 24.6723952,46.7283754**

**( Madina Branch, Saudi Arabia)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Owner** | ﻣﺒﺎﺭﻙ ﺩﺍﻳﺲ ﻣﺒﺎﺭﻙ ﺍﻟﺰﻫﺮﺍﻧﻲ | **TIS Company** | CPV Arabia |
| **Contractor** | ﻣﺆﺳﺴﺔ ﺍﻋﻤﺎﺭ ﻛﺮﺍ ﻟﻠﻤﻘﺎﻭﻻﺕ ﺍﻟﻌﺎﻣﺔ | **Report Issue Date** |  |
| **Project Location** | 537 ﻣﻨﻄﻘﺔ ﺍﻟﺒﺎﺣﺔ - ﻣﺤﺎﻓﻈﺔ ﺍﻟﻌﻘﻴﻖ - ﻣﺨﻄﻂ ﺭﻗﻢ 944 - ﻗﻄﻌﺔ ﺭﻗﻢ | **Inspection #** | 1 |
| **Inspection Stage** | Waterproofing Envelope Assessment | **No. Of buildings** | 1 |
| **Inspector Name** | Adel Alharbi | **Work in progress** | Waterproofing Envelope Assessment |
| **Email** | AAlharbi@cpvarabia.com | **Telephone** | 596259946 |

|  |
| --- |
| **Inspection Results: Satisfactory** |
| **Description of the inspections carried out:**  CPV ARABIA has conducted an on-site technical inspection (IDI) for Project PR #190019 during the pre-pouring phase of the Waterproofing Envelope Assessment.  The details of the inspection are described further as we go through this report. |

**Summary**

|  |
| --- |
| **Risks may affect the building stability and stop the work (To be resolved by sending the required documents):** - Not exist  **Stages missed without TIS involvement (To be resolved by performing the required tests for the missed elements):** - Not exist  **Interpretation of Additional Visit:** - Not exist  **Technical Reservations (To be closed by providing the required certificates and reports before the final visit):**  - Not exist  **Note:**  - Not exist |

|  |
| --- |
| General Site Pictures and Construction Plans |
|  |
|  |
| General site picture and construction plans |

Risk Assessment

|  |
| --- |
| **There are no defects in the basement waterproofing**   **Passed** |
| **There are no defects in the basement waterproofing**   **Passed** |
| **There are no defects in the basement waterproofing**   **Passed** |
| **There are no defects in the basement waterproofing**   **Passed** |
| **There are no defects in the facade waterproofing**   **Passed** |
| **There are no defects in the facade waterproofing**   **Passed** |
| **There are no defects in the roof waterproofing**   **Passed** |
| **There are no defects in the roof waterproofing**   **Passed** |

|  |  |  |
| --- | --- | --- |
| **Engineer In Charge of Inspection** | **Area Manager** | **Technical Inspection Manager** |
| **Name:** Adel Alharbi | **Name:** | **Name:** |
| **Signature:** | **Signature:** | **Signature:** |
| Date of Issuing the report: | | |